TIÊU CHUẨN ĐO BUỒNG THỬ NGHIỆM BỤI

Dust Test

Often specified for use with “Arizona fine dust”, these units can also be used with talcum or concrete powder. The chamber has a “clamshell” type door/lid for easy front-loading, compared with top-loading chambers. Optional reach-in glove ports allow rotating the test sample without opening the door.

#### Test standards met:

- SAE J575 (Rev. Nov 2006), Section 4.5

- ISO 20653 (2006-08-15), Section 8.3.1

- DIN 40050, Part 9, IP Codes 5K and 6K, vertical dust flow

- IEC EN 60529 (IEC 529), IP-5 and IP-6, vertical dust flow (with optional underpressure mode)

- IEC EN 60068-2-68 (IEC 68-2-68), LA2, vertical dust flow

- SAE J1455 (Rev. Aug 94), Section 4.7 Dust test and alternate method (not gravel bombardment)

- ISO 20653 (2006-08), section 8.3

- Other sizes and capabilities available upon request. Please contact us with your application.

https://espec.com/na/applications/family/dust