MONRE Project: 	Researching and Manufacturing Standard Systems for Testing / Calibration of Dust Measuring Equipment in the Air Environment

Project Leader:  	Dr. Duong Thanh Nam

Purpose of the Project:	To facilitate a particle testing system and a standard dust monitor so the government can calibrate (means to make comparisons only) dust monitors and issue certificates for those passed the tests.

Standard Particles：	PM2.5 and PM10（PSL, NIST TRACEABLE PARTICLE SIZE STANDARD）

Request to SIBATA:

1. To provide a standard dust monitor

Specification Requirement：measurement accuracy better than +/-4%

2. To provide a dust testing system：dust generator、dust testing chamber

Specification Requirement：to control dust concentration and homogeneity inside the chamber

Example of Instruments to be Calibrated

| Pos | Model | Brand | Measurement method | Note |
| --- | --- | --- | --- | --- |
| I | Automatic instruments |  |  |  |
| 1 | BAM 1020 | Metone | Beta ray |  |
| 2 | 651 | Teledyne |  |  |
| 3 | SM200 | OPSIS | Light scattering + beta ray |  |
| 4 | 180 | Grimm | Light scattering | according to option |
| 5 | FWE200 | SICK | Light scattering; based on optic |  |
| 6 | DCEM1000 | Codel | visible light |  |
| 7 | PM162M | Environment S.A |  |  |
| 8 | F-701-20 | Verewa | Ligh scattering |  |
| II | Semi-automatic instruments |  |  |  |
| 1 | GT321 | Metone | based on optical transmittance |  |
| 2 | Aerocet 531 | Metone | based on optical transmittance |  |
| 3 | Microdust Pro | Casela | Light scattering |  |
| 4 | EPAM 5000 | SKC | Light scattering + |  |
| 5 | HD-1004 | Haz-dust |  |  |
| 6 | EPAM 500 | Haz-dust |  |  |
| 7 | Dustrack | TSI | Light scattering |  |