https://www.youtube.com/watch?v=Mkzdt5vmwfQ

| ## GAS PORTABLE MCA 14M | +Khả năng đo: - CO 0...75 mg/m³ 0...300 mg/m³ 0...5000 mg/m³ - CO2 0...25 vol. % 0...50 vol. % - NO 0...100 mg/m³ 0...400 mg/m³ 0...3000 mg/m³ - NO2 0...50 mg/m³ 0...500 mg/m³ - N2O 0...50 mg/m³ 0...3000 mg/m³ - NH3 0...10 mg/m³ 0…50 mg/m³ 0…500 mg/m³ - SO2 0...50 mg/m³ 0...300 mg/m³ 0...2500 mg/m³ - HCl 0...15 mg/m³ 0...90 mg/m³ 0...5000 mg/m³ - H2O 0...40 vol. % - - CH4 0...50 mg/m³ 0...500 mg/m³ - O2 0...25 vol. % + Thời gian đáp ứng: (không tìm đc tài liệu) + Độ chính xác: 2% |
| --- | --- |
| ## GAS PORTABLE MCA 10M | + Khả năng đo: - CO 0...75 mg/m³ 0...300 mg/m³ 0...5000 mg/m³ - CO2 0...25 vol. % 0...50 vol. % - NO 0...200 mg/m³ 0...400 mg/m³ 0...3000 mg/m³ - NO2 0...50 mg/m³ 0...500 mg/m³ - N2O 0...50 mg/m³ 0...3000 mg/m³ - NH3 0...10 mg/m³ 0…50 mg/m³ 0…500 mg/m³ - SO2 0...75 mg/m³ 0...300 mg/m³ 0...2500 mg/m³ - HCl 0...15 mg/m³ 0...90 mg/m³ 0...5000 mg/m³ - HF - 0...20 mg/m³ H2O 0...40 vol. % - - CH4 0...50 mg/m³ 0...500 mg/m³ - O2 0...25 vol. % + Thời gian đáp ứng: (không tìm đc tài liệu) + Độ chính xác: 2% |

| ## GAS ANANYZER MGA 12 | + Khả năng đo: - CO: 0...125 mg/m³ (0...100 ppm) 0...1000 mg/m³ - CO2: 0...20 vol. % - SO2: 0...200 mg/m³ (0...70 ppm) 0...1000 mg/m³ - NO: 0...300 mg/m³ (0...225 ppm) 0...1000 mg/m³ - NO2[1]: 0...200 mg/m³ (0...95 ppm) 0...1000 mg/m³ - CH4[1]: 0...300 mg/m³ (0...420 ppm) 0...1000 mg/m³ - H2S [1] [2]: 0...75 mg/m³ (0...50 ppm) - H2O [1]: 0...3 vol. % [4] - O2 [2] [3]: 0...25 vol. % ( khả năng đo có thể thay đổi theo yêu cầu của khách hang) + Thời gian đáp ứng: 180s (tùy từng thành phần khí) + Độ chính xác: 2% |
| --- | --- |
| ## GAS ANANYZER MGA 04 | + Khả năng đo: - CO 0...75 mg/m³ 0...300 mg/m³ - CO2 0...20 vol. % - NO 0...200 mg/m³ 0...395 mg/m³ - NO2 0...50 mg/m³ 0...1000 mg/m³ - N2O 0...50 mg/m³ 0...1000 mg/m³ - NH3 0...30 mg/m³ 0…75 mg/m³ - O2 0...75 mg/m³ 0...300 mg/m³ - HCl 0...15 mg/m³ 0...90 mg/m³ - HF* - 0...20 mg/m³ - CH4* - 0...50 mg/m³ - H2O 0...40 vol. % - TOC, CnHm (optional) 0...15 mg/m³ 0...30 mg/m³ - O2 0...25 vol. % + Thời gian đáp ứng: 180s (tùy từng thành phần khí) + Độ chính xác: 2% |

https://www.youtube.com/watch?v=s5yobIl1Uqs

| ## Gravimetric measuring device GMD 13 | - patented world innovation: sampling and weighting in one system on location! - intelligent system for isokinetic dust and fine particles measurements in exhaust air ducts and stacks - acquisition of all necessary gas boundary parameters (humidity of the sample gas, velocity in exhaust gas channel, temperature, pressure) - pivotable graphic display for more convenient operations Measuring installation at dust sampling (optionally with PFM 13 C) (Đây là bộ thu mẫu bụi iso – cho phép đo bụi oniline nếu có them bộ PFM 13C) |
| --- | --- |
| ## PFM 06 ED | - extractive optic dust concentration measurement - measurement in wet, sticky exhaust gas conditions - optical dust sensor - suitability tested according to EN 15267-3 (QAL1) - approved for installations according to IED (đo bụi online) |