## Layout
FERTILIZER LABORATORY LAYOUT
Laboratory Table
Laboratory Table
A.Draft Chamber
Laboratory Table
Laboratory Table
Medicine Storage
Refrigerating Showcase
Medicine Freezer
Sink
Sink
Balance
Table
Shelf
Shelf
Shelf
Shelf
Laboratory Table
Laboratory Table
Laboratory Table
Drying Shelf
Waste Water Storage
Shelf
Treatment Room
Analysis Room
Analysis Room
Balance Room
medicine Stirage Room
10.0m
7.0m
3.0m
7.0m

## Equipment list
FERTILIZER ANALYSIS EQUIPMENT
2017-03-21
| Category | No. | Item | Producer | Model | Picture | Specification | Unit Price (VND) | Quantity | Unit | Sub Total (VND) | Remark
|  | 1 | Kjeldahl Digestion Units | VELP | DK 20 |  | - Construction material: epoxy painted stainless steel structure - Display: 2-line LCD display - Interfaces: RS232 - Measure selection: °C or °F - Selectable temperatures: from room temp. to 450 °C / 842 °F - Selectable programs: 20 with 4 ramps for each program - Selectable durations: from 001 to 999 minutes - Power: 2300 W - DK 20 - 20-position with 250 mL tubes, Ø 42 mm |  | 1 | Unit | 0 | 20-position with 250 mL tubes, Ø 42 mm
|  | 2 | Recirculating Water Pump | VELP | JP |  |  |  | 1 | Unit | 0
|  | 3 | Scrubber | VELP | SMS |  |  |  | 1 | Unit | 0
|  | 4 | Kjeldahl Distillation Unit | VELP | UDK 159: Automatic Distillation & Titration System |  |  |  | 1 | Unit | 0 | All-in-one Solution: Integrated Distillation & Colorimetric Titration System
| P | 5 | Spectrophotometer | Jasco | V730 |  | - Wavelength range: 190 to 1100nm - Spectral bandwidth: 1nm (190 to 1100nm) - Wavelength display: 0.1-nm increments - Wavelength repeatability: ±0.1nm - Photometric system: Double Beam - Photometric range Absorbance: -4 to 4 Abs - Transmittance: 0% to 400% - Photometric accuarcy: ±0.002 Abs (0.5Abs); ±0.004 Abs (1.0Abs); ±0.006 Abs (2.0Abs) - Photometric repeatability: less than ±0.001 Abs (0.5Abs); less than ±0.001 Abs (1Abs); less than ±0.003 Abs (2.0Abs) - Baseline stability: less than 0.0003 Abs/H at 700nm (one hour after light source turned ON) - Baseline flatness within ±0.0006 Abs (190 to 1100nm,one hour after light source turned ON) |  | 1 | Unit | 0
| K | 6 | Flame Photometer | Jenway | PFP 7 |  | - Range 0 to 199.9ppm - Limits of detection: Na 0.2ppm; K 0.2ppm; Li 0.25ppm; Ca 15ppm; Ba 30ppm - Reproducibility: <1% coefficient of variation for 20 consecutive samples using 10ppm Na set to read 50 - Linearity < 2% error when 3ppm Na/K and 5ppm Li are set to read 100 - Stability < 2% drift over 5min when continuously aspirating 10ppm sample set to 50.0. Specificity Interference from Na/K and Li equal in concentration to test element will be <0.5% - Fuel: Propane, butane, natural gas or LPG |  | 1 | Unit | 0
|  | 7 | Gas cylinder stand |  | Double pieces standing |  |  |  | 1 | Unit | 0
|  | 8 | Pressure reducer | Harris | Model 825 |  |  |  | 1 | Piece | 0
| Moisture | 9 | Moisture analyzer | Ohaus | MB120 |  | - Measurement method: 400 W straight halogen lamp heating system with SRA filter and SHS weighing technology - Maximum sample weight capacity: 51 g - Min. display: Moisture content:0.01%/0.1%; Weight: 0.001 g - Repeatability (Standard deviation): Moisture content (over 1 g): 0.1%; Moisture content (over 5 g): 0.02%; Weight: 0.001 g - Drying temperature: 50 to 200 C° - Measurement unit: Wet base / Dry base / Dry content / Ratio / Weight - Sample pan size: Ø85 mm |  | 1 | Unit | 0
| Lab equipment | 10 | Drying oven | Memmert | UN30 |  |  |  | 1 | Unit | 0 | 32L
|  | 11 | Muffle furnaces | Nabertherm | LT15/11/B410 |  |  |  | 1 | Unit | 0 | 15L, lift door
|  | 12 | Precision Balance | Ohaus | PA4102 |  |  |  | 1 | Unit | 0 | 4,100g/0.01g
|  | 13 | Analytical Balance | Ohaus | PA214 |  |  |  | 1 | Unit | 0 | 220g/0.1mg
|  | 14 | Pure water system | YAMATO | WG250B |  |  |  | 1 | Unit | 0
|  | 15 | pH meter | Horiba | F-72S |  |  |  | 1 | Unit | 0
|  | 16 | EC meter | Horiba | DS - 71 G |  |  |  | 1 | Unit | 0
|  | 17 | Draft chamber | BestLab | BLH12/BLH16/BLH18 |  |  |  | 1 | Unit | 0 | 1.2 meters 1.6 meters 1.8 meters
|  | 18 | Vacuum pump | Rocker | Rocker 300 |  |  |  | 1 | Unit | 0 | For vacuum filtration
|  | 19 | Laboratory center table | LAM VIET |  |  |  |  | 1 | Unit | 0 | W3600xD1500xH800-1500
|  | 20 | Laboratory table | LAM VIET | LV- 1203 |  |  |  | 12 | Unit | 0 | W1200xD750xH800
|  | 21 | Laboratory chairs | PHUONG HAI | LCSS |  |  |  | 10 | Unit | 0 | SUS304
|  | 22 | Refined chemical cabinet | LAM VIET | LV-CS 1200 N |  |  |  | 3 | Unit | 0 | W900xD550xH1950
|  | 23 | Lab instrument cabinet | PHUONG HAI |  |  |  |  | 3 | Unit | 0 | For glass ware W1200xD400xH1800
|  | 24 | Balance table | PHUONG HAI |  |  |  |  | 1 | Unit | 0 | W750 x D750 x H800 mm
|  | 25 | Sink cabinet | LAM VIET |  |  |  |  | 3 | Unit | 0 | 3 faucets
|  | 26 | Refrigerator | Haier | HYC-940 |  |  |  | 1 | Unit | 0
|  | 27 | Desiccator | DURAN |  |  |  |  | 2 | Unit | 0
|  | 28 | Drying shelf | LAM VIET |  |  |  |  | 1 | Unit | 0
|  | 29 | Electric hot plate | ACE | ACE-75S |  |  |  | 1 | Unit | 0
|  | 30 | Hot plate | VELP | REC |  |  |  | 2 | Unit | 0
|  | 31 | Hotplate Stirrer | VELP | AREC.X |  |  |  | 1 | Unit | 0
|  | 32 | Magnetic stirrer | VELP | AGE |  |  |  | 2 |  | 0
|  | 33 | Stir bar |  | 25 mm x 7 mm |  |  |  | 10 | Piece | 0
|  | 34 | Constant temperature water bath | Memmert | WNB29 |  |  |  | 1 | Unit | 0
|  | 35 | Crucible tongs | - |  |  |  |  | 3 | Piece | 0
|  | 36 | Porcelain crucible with lid | Marienfeld | Φ40 ͯ 25mm |  |  |  | 12 | Piece | 0
|  | 37 | Wire gauze (with asbestos center) | [5 empty] | 12 | Piece | 0
|  | 38 | Mortar and pestle | [5 empty] | 1 | Unit | 0
|  | 39 | Sieve | Haver & Boecker | 2 mm |  |  |  | 5 | Piece | 0 | Stainless steel
|  | 40 | Humidity meter |  | HTC-2 |  |  |  | 1 | Piece | 0
|  | 41 | Laboratory brushes | [5 empty] | 10 | Unit | 0
|  | 42 | Pipette stand |  |  |  | 1900-01-03 |  | 4 | Piece | 0
|  | 43 | Micropipette stand |  |  |  | 1900-01-03 |  | 1 | Piece | 0
|  | 44 | Burette stand with clamp | [5 empty] | 3 | Piece | 0
|  | 45 | Tray | [5 empty] | 10 | Piece | 0
|  | 46 | Funnel stand |  |  |  | 1900-01-03 |  | 5 | Piece | 0
|  | 47 | Spatula |  | 240㎜ |  | 1900-01-03 |  | 10 | Piece | 0
|  | 48 | Glass cell |  | 10㎜ |  | 1900-01-01 |  | 8 | Piece | 0
|  | 49 | Silicon dropper |  | 5mL |  | 1900-01-09 |  | 10 | Piece | 0
|  | 50 | Silicon dropper |  | 10mL |  | 1900-01-09 |  | 10 | Piece | 0
| Glass ware | 51 | Beaker | DURAN | 100mL |  | 1900-01-11 |  | 12 | Piece | 0
|  | 52 | Beaker | DURAN | 300mL |  | 1900-01-11 |  | 12 | Piece | 0
|  | 53 | Beaker | DURAN | 500mL |  | 1900-01-05 |  | 6 | Piece | 0
|  | 54 | Beaker | DURAN | 1000mL |  | 1900-01-03 |  | 6 | Piece | 0
|  | 55 | Heat-resistant beaker | DURAN | 250 mL |  |  |  | 20 | Piece | 0
|  | 56 | Erlenmeyer flask | DURAN | 300mL |  | 1900-01-11 |  | 12 | Piece | 0 | Heat-resistant
|  | 57 | Erlenmeyer flask | DURAN | 500mL |  | 1900-01-05 |  | 6 | Piece | 0
|  | 58 | Erlenmeyer flask | DURAN | 1000mL |  | 1900-01-03 |  | 6 | Piece | 0
|  | 59 | Conical flask | DURAN | 300mL |  | 1900-01-11 |  | 12 | Piece | 0
|  | 60 | Watch glass | - | φ80mm |  | 1900-01-09 |  | 10 | Piece | 0
|  | 61 | Watch glass | - | φ125mm (120mm) |  | 1900-01-09 |  | 10 | Piece | 0
|  | 62 | Volumetric flask | DURAN | 50mL |  | 1900-01-05 |  | 24 | Piece | 0
|  | 63 | Volumetric flask | DURAN | 100mL |  | 1900-01-05 |  | 24 | Piece | 0
|  | 64 | Volumetric flask | DURAN | 200mL |  | 1900-01-05 |  | 12 | Piece | 0
|  | 65 | Volumetric flask | DURAN | 250mL |  | 1900-01-05 |  | 12 | Piece | 0
|  | 66 | Volumetric flask | DURAN | 500mL |  | 1900-01-01 |  | 6 | Piece | 0
|  | 67 | Volumetric flask | DURAN | 1000mL |  | 1900-01-01 |  | 4 | Piece | 0
|  | 68 | Graduated cylinder | DURAN | 50mL |  | 1900-01-05 |  | 6 | Piece | 0
|  | 69 | Graduated cylinder | DURAN | 100mL |  | 1900-01-05 |  | 6 | Piece | 0
|  | 70 | Graduated cylinder | DURAN | 250mL |  | 1900-01-05 |  | 6 | Piece | 0
|  | 71 | Graduated cylinder | DURAN | 1000mL |  | 1900-01-01 |  | 2 | Piece | 0
|  | 72 | Poly beaker | - | 300mL |  | 1900-01-03 |  | 4 | Piece | 0
|  | 73 | Poly beaker with grip | - | 2000mL |  | 1900-01-01 |  | 6 | Piece | 0
|  | 74 | Alcohol thermometer |  | -10 ~ 150oC |  |  |  | 6 | Piece | 0
|  | 75 | Mercury thermometer |  | -10 ~ 150oC |  |  |  | 6 | Piece | 0
|  | 76 | Glass rod | - | - |  |  |  | 10 | Piece | 0
|  | 77 | Burette | DURAN | 10 mL |  |  |  | 6 | Piece | 0
|  | 78 | Burette | DURAN | 25 mL |  |  |  | 6 | Piece | 0
|  | 79 | Automatic burette | DURAN | 25mL |  | 1900-01-01 |  | 2 | Unit | 0
|  | 80 | Komagome pipette | DURAN | 5mL |  | 1900-01-09 |  | 10 | Piece | 0
|  | 81 | Komagome pipette | DURAN | 10mL |  | 1900-01-09 |  | 10 | Piece | 0
|  | 82 | Measuring pipette | DURAN | 5mL |  | 1900-01-09 |  | 10 | Piece | 0
|  | 83 | Measuring pipette | DURAN | 10mL |  | 1900-01-09 |  | 10 | Piece | 0
|  | 84 | Volumetric pipette | DURAN | 5mL |  | 1900-01-09 |  | 10 | Piece | 0
|  | 85 | Volumetric pipette | DURAN | 10mL |  | 1900-01-09 |  | 10 | Piece | 0
|  | 86 | Volumetric pipette | DURAN | 15mL |  | 1900-01-09 |  | 10 | Piece | 0
|  | 87 | Volumetric pipette | DURAN | 20mL |  | 1900-01-09 |  | 10 | Piece | 0
|  | 88 | Volumetric pipette | DURAN | 25mL |  | 1900-01-09 |  | 10 | Piece | 0
|  | 89 | Funnel |  |  |  | 1900-01-03 |  | 10 | Piece | 0
|  | 90 | Buchner funnel |  |  |  | 1900-01-03 |  | 4 | Piece | 0
|  | 91 | Buchner flask |  | 500mL |  |  |  | 4 | Piece | 0
[10 empty] | Total Price | 0

## Consumables
FERTILIZER ANALYSIS EQUIPMENT
2017-03-21
| Category | No. | Item | Producer | Model | Picture | Specification | Unit Price (VND) | Quantity | Unit | Sub Total (VND) | Remark
| Consumables | 1 | pH paper | Advantec | pH 1～14 |  | 1900-01-03 |  | 20 | Piece | 0
|  | 2 | Washing bottle |  | 500mL |  | 1900-01-03 |  | 6 | Piece | 0
|  | 3 | Washing bottle |  | 1000mL |  | 1900-01-01 |  | 4 | Piece | 0
|  | 4 | Balance dish |  | Small |  | 1899-12-31 |  | 6 | Box | 0
|  | 5 | Balance dish |  | Medium |  | 1899-12-31 |  | 6 | Box | 0
|  | 6 | Balance paper |  | Medium |  |  |  | 10 | Box | 0
|  | 7 | Medical paper |  | Medium |  | 1899-12-31 |  | 6 | Box | 0
|  | 8 | Kimwipe |  |  |  | 1899-12-31 |  | 10 | Box | 0
|  | 9 | JK wiper |  |  |  | 1899-12-31 |  | 20 | Box | 0
|  | 10 | Kim towel |  |  |  | 1899-12-31 |  | 10 | Box | 0
|  | 11 | Poly bottle |  | 500mL |  | 1899-12-31 |  | 200 | Piece | 0
|  | 12 | Poly bottle |  | 1000mL |  | 1899-12-31 |  | 200 | Piece | 0
|  | 13 | Vinyl bag with zipper |  | C-4 |  | 1899-12-31 |  | 6 | Unit | 0
|  | 14 | Vinyl bag with zipper |  | G-4 |  | 1899-12-31 |  | 6 | Unit | 0
|  | 15 | Vinyl bag with zipper |  | J-4 |  | 1899-12-31 |  | 6 | Unit | 0
|  | 16 | Glasses | - | - |  |  |  | 6 | Piece | 0
|  | 17 | Gloves |  | Small |  |  |  | 10 | Box | 0
|  | 18 | Gloves |  | Medium |  |  |  | 10 | Box | 0
|  | 19 | Medical mask | [5 empty] | 15 | Box | 0
|  | 20 | Filter paper | [5 empty] | 400 | Piece | 0
|  | 21 | Waste water tank |  | 20L |  |  |  | 10 | Piece | 0
|  | 22 | Pumice | [5 empty] | 20 | Piece | 0
[10 empty] | Total Price | 0

## Chemical
CHEMICAL LIST
| Category | No. | Item | Producer | Specification | Unit Price (VND) | Quantity | Unit | Sub Total (VND) | Remark
| Acid | 1 | Ascorbic acid (C6H8O6 ) | Merck | 500g/ Bottle |  | 4 | Bottle | 0
|  | 2 | Boric acid (H3BO3) | Merck | 500g/ Bottle |  | 4 | Bottle | 0
|  | 3 | Citric acid (C6H8O7) | Merck | 500g / Bottle |  | 4 | Bottle | 0
|  | 4 | Hydrochloric acid (HCl) d= 1.18 | Merck | 1 L/ Bottle |  | 150 | Bottle | 0
|  | 5 | Nitric acid (HNO3) d=1.4 | Merck | 1 L/ Bottle |  | 50 | Bottle | 0
|  | 6 | Perchloric acid (HClO4) | Merck | 500 mL/ Bottle |  | 6 | Bottle | 0
|  | 7 | Sulfuric acid 98%, (H2SO4) d = 1.84 | Merck | 1 L/ Bottle |  | 250 | Bottle | 0
| Standard | 8 | Fixanal HCl 1M | Merck | 1 tube for 1 L |  | 40 | Tube | 0
|  | 9 | Standard potassium solution 1000 mg K/L | Merck | 0.5 L/ Bottle |  | 16 | Bottle | 0
|  | 10 | Standard nitrogen solution 1000 mg N/ L | Merck | 0.5 L/ Bottle |  | 2 | Bottle | 0
|  | 11 | Standard phosphorus solution 100 mg P/ L | Merck | 0.5 L/ Bottle |  | 3 | Bottle | 0
| Hóa chất chung | 13 | Silicagel | Merck | 500 g/ Bottle |  | 20 | Bottle | 0
|  | 14 | Ammonium hydroxide (NH4OH) | Merck | 500 g/ Bottle |  | 20 | Bottle | 0
|  | 15 | Ammonium metavanadate (NH4VO3) | Merck | 100 g / Bottle |  | 6 | Bottle | 0
|  | 16 | Ammonium molybdate [(NH4)6.Mo7O24.4H2O] | Merck | 100 g/ Bottle |  | 6 | Bottle | 0
|  | 17 | Copper powder (Cu) | Merck | 100 g/ Bottle |  | 6 | Bottle | 0
|  | 18 | Zinc powder (Zn) | Merck | 100 g/ Bottle |  | 6 | Bottle | 0
|  | 19 | Aluminum powder (Al) | Merck | 100 g/ Bottle |  | 6 | Bottle | 0
|  | 20 | Blue bromocresol indicator |  | 100 g/ Bottle |  | 4 | Bottle | 0
|  | 21 | Methyl red indicator | Merck | 100 g/ Bottle |  | 4 | Bottle | 0
|  | 22 | Phenolphtalein indicator | Merck | 100 g/ Bottle |  | 4 | Bottle | 0
|  | 23 | α-dinitrophenol indicator (C6H4N2O5) | Merck | 100 g/ Bottle |  | 4 | Bottle | 0
|  | 24 | Etanol 95% | Merck | 0.5 L/ Bottle |  | 6 | Bottle | 0
|  | 25 | Glucose (C6H12O6) | Merck | 500 g/ Bottle |  | 6 | Bottle | 0
|  | 26 | Potassium antimony tartrate [K2Sb2(C4H2O6)2 ] | Merck | 100 g/ Bottle |  | 4 | Bottle | 0
|  | 27 | Potassium iodide (KI) | Merck | 500 g/ Bottle |  | 4 | Bottle | 0
|  | 28 | Potassium permanganate (KMnO4) | Merck | 500 g/ Bottle |  | 6 | Bottle | 0
|  | 29 | Potassium sulphate (K2SO4) | Merck | 500 g/ Bottle |  | 10 | Bottle | 0
|  | 30 | Sodium hydroxide (NaOH) | Merck | 500 g/ Bottle |  | 80 | Bottle | 0
|  | 31 | Selen (Se) | Merck | 100 g/ Bottle |  | 6 | Bottle | 0
|  | 32 | Mercury (II) iodide Hgl2 | Merck | 100 g/ Bottle |  | 10 | Bottle | 0
[8 empty] | Total Price | 0