## Flow rate
MEASURING DATA SHEET (1) | [11 empty] | Customer | [10 empty] | THAI BINH 1 THERMAL POWER PLANT
Measuring date | [14 empty] | Measuring condition
Measuring position | [14 empty] | Measuring person
[10 empty] | Calculated by |  |  | Checked by |  | PC Input |  |  | Collated by | [15 empty] | Customer
| MOISTURE CONTENT IN FLUE GAS | [20 empty] | Atmospheric pressure | [7 empty] | Pa |  | kPa
| Measuring point |  | Measuring time |  |  |  | U - tube No. |  |  | Gas meter | [13 empty] | Mass of moisture |  |  |  |  | Moisture content
[10 empty] | Suction volume | [5 empty] | Temp. |  |  | Pressure | [9 empty] | Value |  |  |  | Average
[10 empty] | V | [5 empty] | θm |  |  | Pm |  |  |  |  | m |  |  |  |  | Xw |  |  |  | Xw
[10 empty] | L | [5 empty] | ℃ |  |  | kPa |  |  |  |  | g |  |  |  |  | vol% |  |  |  | vol%
#N/A
#N/A
#N/A
| Equipment No. |  | Gas meter |  |  |  | D －013 － | [11 empty] | Suction pump | [7 empty] | DVM － 027 －
|  |  | Barometer |  |  |  | DVM －016 －
| COMPOSITION AND DENSITY OF FLUE GAS | [24 empty] | Density of wet flue gas in standard condition
| Measuring point |  | Measuring time |  |  |  | Gas composition
[7 empty] | CO2 |  |  |  | O2 |  |  |  | CO | [5 empty] | N2 |  |  |  |  | ρ0
[7 empty] | vol% |  |  |  | vol% |  |  |  | vol% | [5 empty] | vol% |  |  |  |  | kg/m3N
Average
| Equipment No. |  | Orsat apparatus |  |  |  | DVM －045 －
VELOCITY AND FLOW RATE OF FLUE GAS
| Measuring point | Measuring time |  |  |  |  | Dynamic pressure |  |  |  |  | Temperature |  |  |  |  | Static pressure | [5 empty] | Velocity | [5 empty] | Gas density
[7 empty] | Pd |  |  |  |  | θs |  |  |  |  | Ps | [5 empty] | v | [5 empty] | ρ
[7 empty] | Pa |  |  |  |  | ℃ |  |  |  |  | kPa | [5 empty] | m/s | [5 empty] | kg/m3
|  | ① |  |  | ② |  | ① |  | ② |  |  | ① |  | ② |  |  | ① |  |  | ② |  |  | ① |  |  | ② |  |  | ① |  |  |  | ②
#NAME?
Gas flow rate
QA
m3/h
①
[29 empty] | ② |  | #DIV/0!
[29 empty] | Average |  | #DIV/0!
[29 empty] | Wet |  | QN
m3N/h
①
[29 empty] | ② |  | #DIV/0!
[29 empty] | Average |  | #DIV/0!
[29 empty] | Dry |  | Q'N
m3N/h
①
[29 empty] | ② |  | #DIV/0!
[7 empty] | Average | [6 empty] | #DIV/0! | [11 empty] | #DIV/0! |  |  | Average |  | #DIV/0!
| Pitot tube co-efficient |  |  |  |  | C | [5 empty] | Cross-sectional area | [12 empty] | A |  |  | m2
| Equipment No. |  | Manostar gauge |  |  |  | DVM － |  |  |  |  | － |  |  |  |  | Thermometer | [7 empty] | DVM － 010 －
[7 empty] | DVM － |  |  |  |  | － |  |  |  |  | Sheathed thermocouple | [7 empty] | DVM － 172 －
[7 empty] | DVM － |  |  |  |  | － |  |  |  |  | Pitot tube | [7 empty] | CVM － 018 －
| Retention period |  |  | 5 years |  |  |  | Storage department |  |  |  |  | Technical room | [5 empty] | TEC-G-QT-001-003 (01) | [6 empty] | Revised (Enacted) date | [5 empty] | 2015-04-01

## Flow rate A side
MEASURING DATA SHEET (1) | [11 empty] | Customer | [10 empty] | THAI BINH 1 THERMAL POWER PLANT
Measuring date | [14 empty] | Measuring condition
Measuring position | [14 empty] | Measuring person
[10 empty] | Calculated by |  |  | Checked by |  | PC Input |  |  | Collated by | [15 empty] | Customer
| MOISTURE CONTENT IN FLUE GAS | [20 empty] | Atmospheric pressure | [7 empty] | Pa |  | kPa
| Measuring point |  | Measuring time |  |  |  | U - tube No. |  |  | Gas meter | [13 empty] | Mass of moisture |  |  |  |  | Moisture content
[10 empty] | Suction volume | [5 empty] | Temp. |  |  | Pressure | [9 empty] | Value |  |  |  | Average
[10 empty] | V | [5 empty] | θm |  |  | Pm |  |  |  |  | m |  |  |  |  | Xw |  |  |  | Xw
[10 empty] | L | [5 empty] | ℃ |  |  | kPa |  |  |  |  | g |  |  |  |  | vol% |  |  |  | vol%
#N/A
#N/A
#N/A
| Equipment No. |  | Gas meter |  |  |  | D －013 － | [11 empty] | Suction pump | [7 empty] | DVM － 027 －
|  |  | Barometer |  |  |  | DVM －016 －
| COMPOSITION AND DENSITY OF FLUE GAS | [24 empty] | Density of wet flue gas in standard condition
| Measuring point |  | Measuring time |  |  |  | Gas composition
[7 empty] | CO2 |  |  |  | O2 |  |  |  | CO | [5 empty] | N2 |  |  |  |  | ρ0
[7 empty] | vol% |  |  |  | vol% |  |  |  | vol% | [5 empty] | vol% |  |  |  |  | kg/m3N
Average
| Equipment No. |  | Orsat apparatus |  |  |  | DVM －045 －
VELOCITY AND FLOW RATE OF FLUE GAS
| Measuring point | Measuring time |  |  |  |  | Dynamic pressure |  |  |  |  | Temperature |  |  |  |  | Static pressure | [5 empty] | Velocity | [5 empty] | Gas density
[7 empty] | Pd |  |  |  |  | θs |  |  |  |  | Ps | [5 empty] | v | [5 empty] | ρ
[7 empty] | Pa |  |  |  |  | ℃ |  |  |  |  | kPa | [5 empty] | m/s | [5 empty] | kg/m3
|  | ① |  |  | ② |  | ① |  | ② |  |  | ① |  | ② |  |  | ① |  |  | ② |  |  | ① |  |  | ② |  |  | ① |  |  |  | ②
Gas flow rate
QA
m3/h
①
②
Average
[29 empty] | Wet |  | QN
m3N/h
①
②
Average
[29 empty] | Dry |  | Q'N
m3N/h
①
②
[7 empty] | Average | [21 empty] | Average
| Pitot tube co-efficient |  |  |  |  | C | [5 empty] | Cross-sectional area | [12 empty] | A |  |  | m2
| Equipment No. |  | Manostar gauge |  |  |  | DVM － |  |  |  |  | － |  |  |  |  | Thermometer | [7 empty] | DVM － 010 －
[7 empty] | DVM － |  |  |  |  | － |  |  |  |  | Sheathed thermocouple | [7 empty] | DVM － 172 －
[7 empty] | DVM － |  |  |  |  | － |  |  |  |  | Pitot tube | [7 empty] | CVM － 018 －
| Retention period |  |  | 5 years |  |  |  | Storage department |  |  |  |  | Technical room | [5 empty] | TEC-G-QT-001-003 (01) | [6 empty] | Revised (Enacted) date | [5 empty] | 2015-04-01

## Flow rate B side
MEASURING DATA SHEET (1) | [12 empty] | Customer | [10 empty] | THAI BINH 1 THERMAL POWER PLANT
Measuring date | [15 empty] | Measuring condition
Measuring position | [5 empty] | B | [9 empty] | Measuring person
[11 empty] | Calculated by |  |  | Checked by |  | PC Input |  |  | Collated by
| MOISTURE CONTENT IN FLUE GAS | [21 empty] | Atmospheric pressure | [7 empty] | Pa |  | kPa
| Measuring point |  | Measuring time |  |  |  |  | U - tube No. |  |  | Gas meter | [13 empty] | Mass of moisture |  |  |  |  | Moisture content
[11 empty] | Suction volume | [5 empty] | Temp. |  |  | Pressure | [9 empty] | Value |  |  |  | Average
[11 empty] | V | [5 empty] | θm |  |  | Pm |  |  |  |  | m |  |  |  |  | Xw |  |  |  | Xw
[11 empty] | L | [5 empty] | ℃ |  |  | kPa |  |  |  |  | g |  |  |  |  | vol% |  |  |  | vol%
[11 empty] | 10 | [22 empty] | 8.8 | #N/A
[11 empty] | 10 | [23 empty] | #N/A
#N/A
| Equipment No. |  | Gas meter |  |  |  |  | DVM －013 － | [11 empty] | Suction pump | [7 empty] | DVM － 027 －
|  |  | Barometer |  |  |  |  | DVM －016 －
| COMPOSITION AND DENSITY OF FLUE GAS | [25 empty] | Density of wet flue gas in standard condition
| Measuring point |  | Measuring time |  |  |  |  | Gas composition
[8 empty] | CO2 |  |  |  | O2 |  |  |  | CO | [5 empty] | N2 |  |  |  |  | ρ0
[8 empty] | vol% |  |  |  | vol% |  |  |  | vol% | [5 empty] | vol% |  |  |  |  | kg/m3N
|  |  | Average | [23 empty] | 1.2
| Equipment No. |  | Orsat apparatus |  |  |  |  | DVM －045 －
VELOCITY AND FLOW RATE OF FLUE GAS
| Measuring point | Measuring time | [5 empty] | Dynamic pressure |  |  |  |  | Temperature |  |  |  |  | Static pressure | [5 empty] | Velocity | [5 empty] | Gas density
[8 empty] | Pd |  |  |  |  | θs |  |  |  |  | Ps | [5 empty] | v | [5 empty] | ρ
[8 empty] | Pa |  |  |  |  | ℃ |  |  |  |  | kPa | [5 empty] | m/s | [5 empty] | kg/m3
|  | ① |  |  | ② |  |  | ① |  | ② |  |  | ① |  | ② |  |  | ① |  |  | ② |  |  | ① |  |  | ② |  |  | ① |  |  |  | ②
[8 empty] | 93 |  |  |  |  | 128 |  |  |  |  | -2.7 | [11 empty] | 0.883 |  |  |  | #NAME?
[8 empty] | 126 |  |  |  |  | 124 | [16 empty] | Gas flow rate
[8 empty] | 93 |  |  |  |  | 123 | [18 empty] | QA
[8 empty] | 90 |  |  |  |  | 129 | [18 empty] | m3/h
[8 empty] | 90 |  |  |  |  | 123 | [16 empty] | ① |  | 719000
[8 empty] | 94 |  |  |  |  | 119 | [16 empty] | ② |  | #DIV/0!
[8 empty] | 88 |  |  |  |  | 131 | [16 empty] | Average |  | #DIV/0!
[8 empty] | 116 |  |  |  |  | 126 | [16 empty] | Wet |  | QN
[8 empty] | 84 |  |  |  |  | 119 | [18 empty] | m3N/h
[30 empty] | ① |  | 529000
[30 empty] | ② |  | #DIV/0!
[30 empty] | Average |  | #DIV/0!
[30 empty] | Dry |  | Q'N
m3N/h
[30 empty] | ① |  | 483000
[30 empty] | ② |  | #DIV/0!
[8 empty] | Average |  |  |  |  | 125 |  | #DIV/0! | [11 empty] | #DIV/0! |  |  | Average |  | #DIV/0!
| Pitot tube co-efficient | [5 empty] | C | [5 empty] | Cross-sectional area | [12 empty] | A |  |  | m2
| Equipment No. |  | Manostar gauge |  |  |  |  | DVM － |  |  |  |  | － |  |  |  |  | Thermometer | [7 empty] | DVM － 010 －
[8 empty] | DVM － |  |  |  |  | － |  |  |  |  | Sheathed thermocouple | [7 empty] | DVM － 172 －
[8 empty] | DVM － |  |  |  |  | － |  |  |  |  | Pitot tube | [7 empty] | CVM － 018 －
| Retention period |  |  | 5 years |  |  |  |  | Storage department |  |  |  |  | Technical room | [5 empty] | TEC-G-QT-001-003 (01) | [6 empty] | Revised (Enacted) date | [5 empty] | 2015-04-01

## Dust A side
MEASURING DATA SHEET (2) | [14 empty] | Customer | [9 empty] | THAI BINH 1 THERMAL POWER PLANT
Measuring date | [18 empty] | Measuring condition
Measuring position | [18 empty] | Measuring person
| DUST CONCENTRATION IN FLUE GAS | [21 empty] | Calculated by |  |  | Checked by |  |  |  | PC Input |  |  | Collated by |  | Customer
| Circular filter paper | [7 empty] | Cylindrical filter paper
| □ | Form 1 |  | □ |  | Form 2 |  |  | □ | Form 1 |  |  |  | □ |  | Form 2
| □ | QMA |  | □ |  | PF-020 |  |  | □ | Whatman |  |  |  | □ |  | 89 |  |  | Atmospheric pressure | [10 empty] | Pa |  |  | kPa
[9 empty] | □ | 89S | [8 empty] | Oxygen standard concentration | [10 empty] | On |  |  | %
| Measuring points |  | Measuring time |  | Number of points |  | Diameter of nozzle |  | Filter paper No. |  |  | Suction duration |  |  | Gas meter | [7 empty] | Suction volume at standard condition |  |  | Mass of collected dust |  |  |  | Dust concentration |  |  |  |  | Oxygen concentration
[15 empty] | Suction volume |  |  | Temp. |  | Pressure | [9 empty] | Measured value |  |  | Conversion value
[7 empty] | d |  |  |  |  | t |  |  | V |  |  | θm |  | Pm |  |  | Vs |  |  | m |  |  |  | Cs |  |  | C |  | Os
[7 empty] | mm |  |  |  |  | min |  |  | L |  |  | ℃ |  | kPa |  |  | m3N |  |  | g |  |  |  | g/m3N |  |  | g/m3N |  | %
#N/A
#N/A
#N/A
#N/A
#N/A
[26 empty] | Average | [6 empty] | #DIV/0! |  | #DIV/0!
| Equipment No. |  |  | Gas meter | [7 empty] | D － 013 － | [10 empty] | Suction pump | [6 empty] | DVM － 027 －
|  |  |  | Orsat apparatus | [7 empty] | DVM － 045 －
[23 empty] | Calculated by |  |  | Checked by |  |  |  | PC Input |  |  | Collated by
NITROGEN OXIDE CONCENTRATION IN FLUE GAS
| Measuring point | [15 empty] | Oxygen standard concentration | [9 empty] | On |  |  |  | %
| Measuring time |  | NOx flask | [20 empty] | Suction volume at standard condition |  | Ion concentration determined from the working curve | [5 empty] | Nitrogen oxide concentration |  |  |  | Oxygen concentration
|  |  | No. |  | Before sampling | [7 empty] | After sampling | [7 empty] | Volume
[5 empty] | Absolute pressure |  |  | Temp. |  | Saturated vapor pressure |  |  | Absolute pressure |  |  |  | Temp. |  | Saturated vapor pressure | [6 empty] | NO3 |  |  | NO2 |  |  | Measured value |  | Conversion value
[5 empty] | Pi |  |  | ti |  | Pni |  |  | Pf |  |  |  | tf |  | Pnf |  | V-20 |  |  | Vs |  | a |  |  | b |  |  | Cs |  | C |  | Os
[5 empty] | kPa |  |  | ℃ |  | kPa |  |  | kPa |  |  |  | ℃ |  | kPa |  | mL |  |  | mL |  | mg/L |  |  | mg/L |  |  | ppm |  | ppm |  | %
Average
Flask (After collecting)
[9 empty] | No. |  | Atmospheric pressure | [5 empty] | Residual pressure
[11 empty] | kPa | [5 empty] | kPa
| Equipment No. |  |  | Manometer | [7 empty] | DVM － － | [9 empty] | Mighty pump | [5 empty] | DVM－ 029 －
|  |  |  | Orsat apparatus | [7 empty] | DVM － 016 －
| Retention period |  |  |  |  | 5 years |  |  |  | Storage department | [6 empty] | Technical room |  |  |  |  | TEC-G-QT-001-003 (01) |  |  |  |  | Revised (Enacted) date | [6 empty] | 2015-04-01

## Summary Temp. Pressure
THAI BINH 1 THERMAL POWER PLANT |  |  |  |  | DATE:
CONDITION:
ESP INLET FLUE GAS MEASUREMENT DATA SHEET
FLOW RATE
Gas direction
| Duct A |  |  | Duct B
| Average |  |  | Average
| Velocity |  |  | Velocity
| Temperature | v: Velocity |  | Temperature
| Flow rate (wet) | θ: Temperature |  | Flow rate (wet)
| Flow rate (dry) |  |  | Flow rate (dry)
900
900
900
900
450
500
1000
1000
900
900
900
900
450
500
1000
1000
A
B
C
D
E
A
B
C
D
E
v
θ
4500
4500
3000
3000

## Summary dust concecntration
THAI BINH 1 THERMAL POWER PLANT |  |  |  |  | DATE: | 5-Dec-2017
[5 empty] | CONDITION: | 300 MW
ESP OUTLET FLUE GAS MEASUREMENT DATA SHEET
DUST CONCENTRATION
Gas direction
| Duct A |  |  | Duct B - T1
| Average | g/m3N |  | Average |  |  | g/m3N
Gas direction
| Duct B - T2 |  |  | Duct B - T3
| Average | g/m3N |  | Average |  |  | g/m3N
900
900
900
900
450
500
1000
1000
900
900
900
900
450
500
1000
1000
A
B
C
D
E
A
B
C
D
E
4500
4500
3000
3000
900
900
900
900
450
500
1000
1000
900
900
900
900
450
500
1000
1000
A
B
C
D
E
A
B
C
D
E
4500
4500
3000
3000
0.0462
0.0286
0.0362
0.0305
0.0261
0.0322
0.0521
0.0500
0.0584
0.0174
0.0174
0.0230
0.0193
0.0535
0.0296
0.0370

## Summary result
THAI BINH 1 THERMAL POWER PLANT | [6 empty] | DATE:
CONDITION:
FLUE GAS MEASUREMENT DATA SHEET
| Item |  |  | ESP INLET |  | ESP OUTLET
|  |  |  | DUCT A | DUCT B | DUCT A |  | DUCT B
| Moisture |  | %
| Gas temperature |  | ℃
| Gas static pressure |  | Pa
| Flow rate (wet) |  | m3N/h
| Flow rate (dry) |  | m3N/h
| Gas composition | CO2 | %
|  | O2 | %
|  | CO | %
|  | N2 | %
| Dust concentration |  | g/m3N

## Measurement Act
0 | 611.21 | 0.61121 |  | Measuring objects | Measuring method 1,JIS number | Measuring method 2
|  |  | 0 |  | blank as below
1 | 657.08 | 0.65708 | 1 | Dust concentration | JIS Z 8808(2013) | (Circular filter paper)
|  |  | 2 | Dust concentration | JIS Z 8808(2013) | (Cylinder filter paper)
2 | 705.97 | 0.70597 | 3 | Sulfur oxides concentration | JIS K 0103(2011)-7.1 | Ion chromatography
|  |  | 4 | Sulfur oxides concentration | JIS K 0103(2011)-7.2 | Precipitation titrimetry (arsenazoⅢmethod)
3 | 758.06 | 0.75806 | 5 | Sulfur oxides concentration | JIS K 0103(2011)-8 | Automated measuring method
|  |  | 6 | Sulfur oxides concentration | JIS K 0103(2011)-Annex JA (normative) | Turbidimetry (light scattering method)
4 | 813.52 | 0.81352 | 7 | Nitrogen oxides concentration | JIS K 0104(2011)-7.1 | Zinc reduction naphthyethylenediamine absorptiometry (Zn-NEDA method)
|  |  | 8 | Nitrogen oxides concentration | JIS K 0104(2011)-7.3 | Ion chromatography
5 | 872.54 | 0.87254 | 9 | Nitrogen oxides concentration | JIS K 0104(2011)-7.4 | Phenol disulfonic acid absorptiometry (PDS method)
|  |  | 10 | Nitrogen oxides concentration | JIS K 0104(2011)-7.5 | Saltzman absorptiometry
6 | 935.31 | 0.93531 | 11 | Nitrogen oxides concentration | JIS K 0104(2011)-8 | Automated measuring method：Chemiluminescence method
|  |  | 12 | Oxygen concentration | JIS K 0301(1998)-5.1 | Chemical analysis：Orsat
7 | 1002 | 1.002 | 13 | Oxygen concentration | JIS K 0301(1998)-6 | Automated measuring method：Zirconia
|  |  | 14 | Oxygen concentration | JIS K 0301(1998)-6 | Automated measuring method：Magnetic force
8 | 1072.9 | 1.0729 | 15 | Ammonia concentration | JIS K 0099(2004)-7.1 | Indophenol blue absorption spectrophotometry
|  |  | 16 | Ammonia concentration | JIS K 0099(2004)-7.2 | Gas chromatography
9 | 1148.2 | 1.1482 | 17 | Fluorine concentration | JIS K 0105(1998)-6.1 | Lanthanum-Alizarin complexone absorptiometry
|  |  | 18 | Hydrogen fluoride concentration | JIS K 0105(1998)-6.1 | Lanthanum-Alizarin complexone absorptiometry
10 | 1228.1 | 1.2281 | 19 | Chlorine concentration | JIS K 0106(2010)-7.1 | ABTS
|  |  | 20 | Chlorine concentration | JIS K 0106(2010)-7.2 | PCP
11 | 1312.9 | 1.3129 | 21 | Chlorine concentration | JIS K 0106(2010)-7.3 | Ion chromatography
|  |  | 22 | Chlorine concentration | JIS K 0106(2010)-Annex A (normative) | o－Tolidine colorimetry
12 | 1402.8 | 1.4028 | 23 | Hydrogen chloride concentration | JIS K 0107(2002)-7.1 | Ion chromatography
|  |  | 24 | Hydrogen chloride concentration | JIS K 0107(2002)-7.2 | Silver-nitrate titration method
13 | 1498 | 1.498 | 25 | Hydrogen chloride concentration | JIS K 0107(2002)-Annex D (normative) | Mercury (Ⅱ) thiocyanate absorptiometry
|  |  | 26 | Carbon monoxide concentration | JIS K 0098(1998)-5 | Gas chromatography
14 | 1598.9 | 1.5989 | 27 | Carbon monoxide concentration | JIS K 0098(1998)-6 | Detection tube
|  |  | 28 | Carbon monoxide concentration | JIS K 0098(1998)-7 | Infrared absorption spectrophotometry
15 | 1705.7 | 1.7057 | 29 | Hydrogen sulfide concentration | JIS K 0108(2010)-8 | Gas chromatography
|  |  | 30 | Hydrogen sulfide concentration | JIS K 0108(2010)-9 | Methylene blue absorptiometry
16 | 1818.7 | 1.8187 | 31 | Hydrogen cyanide concentration | JIS K 0109(1998)-6 | Gas chromatography
|  |  | 32 | Hydrogen cyanide concentration | JIS K 0109(1998)-7 | 4-Pyridinecarboxylate-pyrazolone absorptiometry
17 | 1938.3 | 1.9383 | 33 | Cadmium concentration | JIS K 0083(2006)-7.1 | Flame atomic absorption spectrometry
|  |  | 34 | Cadmium concentration | JIS K 0083(2006)-7.3 | ICP atomic emission spectroscopy
18 | 2064.7 | 2.0647 | 35 | Cadmium concentration | JIS K 0083(2006)-7.4 | ICP mass spectrometry
|  |  | 36 | Lead concentration | JIS K 0083(2006)-8.1 | Flame atomic absorption spectrometry
19 | 2198.2 | 2.1982 | 37 | Lead concentration | JIS K 0083(2006)-8.3 | ICP atomic emission spectroscopy
|  |  | 38 | Lead concentration | JIS K 0083(2006)-8.4 | ICP mass spectrometry
20 | 2339.2 | 2.3392 | 39 | Nickel concentration | JIS K 0083(2006)-9.1 | Dimethylglyoxime absorptiometry
|  |  | 40 | Nickel concentration | JIS K 0083(2006)-9.2 | Flame atomic absorption spectrometry
21 | 2488.2 | 2.4882 | 41 | Nickel concentration | JIS K 0083(2006)-9.4 | ICP atomic emission spectroscopy
|  |  | 42 | Nickel concentration | JIS K 0083(2006)-9.5 | ICP mass spectrometry
22 | 2645.3 | 2.6453 | 43 | Manganese concentration | JIS K 0083(2006)-10.1 | Periodic acid absorptiometry
|  |  | 44 | Manganese concentration | JIS K 0083(2006)-10.2 | Flame atomic absorption spectrometry
23 | 2811 | 2.811 | 45 | Manganese concentration | JIS K 0083(2006)-10.4 | ICP atomic emission spectroscopy
|  |  | 46 | Manganese concentration | JIS K 0083(2006)-10.5 | ICP mass spectrometry
24 | 2985.8 | 2.9858 | 47 | Vanadium concentration | JIS K 0083(2006)-11.1 | N-Phenylbenzohydroxamic acid absorptiometry
|  |  | 48 | Vanadium concentration | JIS K 0083(2006)-11.2 | Flame atomic absorption spectrometry
25 | 3169.9 | 3.1699 | 49 | Vanadium concentration | JIS K 0083(2006)-11.4 | ICP atomic emission spectroscopy
|  |  | 50 | Vanadium concentration | JIS K 0083(2006)-11.5 | ICP mass spectrometry
26 | 3363.9 | 3.3639 | 51 | Chromium concentration | JIS K 0083(2006)-12.1 | Diphenylcarbazide absorptiometry
|  |  | 52 | Chromium concentration | JIS K 0083(2006)-12.2 | Flame atomic absorption spectrometry
27 | 3568.1 | 3.5681 | 53 | Chromium concentration | JIS K 0083(2006)-12.4 | ICP atomic emission spectroscopy
|  |  | 54 | Chromium concentration | JIS K 0083(2006)-12.5 | ICP mass spectrometry
28 | 3783.1 | 3.7831 | 55 | Beryllium concentration | JIS K 0083(2006)-13.1 | Flame atomic absorption spectrometry
|  |  | 56 | Beryllium concentration | JIS K 0083(2006)-13.3 | ICP atomic emission spectroscopy
29 | 4009.2 | 4.0092 | 57 | Beryllium concentration | JIS K 0083(2006)-13.4 | ICP mass spectrometry
|  |  | 58 | Arsenic concentration | JIS K 0083(2006)-14.1 | Silver diethyldithiocarbamate spectrophotometric method
30 | 4247 | 4.247 | 59 | Arsenic concentration | JIS K 0083(2006)-14.2 | Atomic absorption spectrometry by hydride
|  |  | 60 | Arsenic concentration | JIS K 0083(2006)-14.4 | ICP atomic emission spectroscopy by hydride
31 | 4497 | 4.497 | 61 | Arsenic concentration | JIS K 0083(2006)-14.5 | ICP mass spectrometry
|  |  | 62 | Selenium concentration | JIS K 0083(2006)-15.1 | 3,3'-Diaminobenzidine absorptiometry
32 | 4759.7 | 4.7597 | 63 | Selenium concentration | JIS K 0083(2006)-15.2 | Atomic absorption spectrometry by hydride
|  |  | 64 | Selenium concentration | JIS K 0083(2006)-15.5 | ICP atomic emission spectroscopy by hydride
33 | 5035.6 | 5.0356 | 65 | Selenium concentration | JIS K 0083(2006)-15.6 | ICP mass spectrometry
|  |  | 66 | Bromine concentration | JIS K 0085(1998)-6.1 | Iodemetry
34 | 5325.2 | 5.3252 | 67 | Bromine concentration | JIS K 0085(1998)-6.2 | Mercury (Ⅱ) thiocyanate absorptiometry
|  |  | 68 | Phenols concentration | JIS K 0086(1998)-5.1 | Gas chromatography
35 | 5629.2 | 5.6292 | 69 | Phenols concentration | JIS K 0086(1998)-5.2 | 4 -aminoantipyrine absorptiometry
|  |  | 70 | Phenols concentration | JIS K 0086(1998)-5.3 | Ultraviolet spectrophotometry
36 | 5948.1 | 5.9481 | 71 | Pyridine concentration | JIS K 0087(1998)-5.1 | Diaminostibenedisulfonic acid absorptiometry
|  |  | 72 | Pyridine concentration | JIS K 0087(1998)-5.2 | Gas chromatography
37 | 6282.5 | 6.2825 | 73 | Benzene concentration | JIS K 0088(1997)-6.1 | Gas chromatography
|  |  | 74 | Benzene concentration | JIS K 0088(1997)-6.2 | Dinitrobenzene absorptiometry
38 | 6633.1 | 6.6331 | 75 | Acrolein concentration | JIS K 0089(1998)-5.1 | Gas chromatography
|  |  | 76 | Acrolein concentration | JIS K 0089(1998)-5.2 | Hexylresorcinol absorptiometry
39 | 7000.5 | 7.0005 | 77 | Phosgene concentration | JIS K 0090(1998) | 1,3-Diphenylurea ultraviolet spectrophotometric method
|  |  | 78 | Carbon disulfide concentration | JIS K 0091(1998)-5.1 | Copper diethyldithiocarbamate absorptiometry
40 | 7385.3 | 7.3853 | 79 | Carbon disulfide concentration | JIS K 0091(1998)-5.2 | Gas chromatography
|  |  | 80 | Mercaptan concentration | JIS K 0092(1998)-5.1 | N,N'-Ditolyl-p-phenylenediamine
41 | 7788.2 | 7.7882 | 81 | Mercaptan concentration | JIS K 0092(1998)-5.2 | Gas chromatography
|  |  | 82 | Mercury concentration | JIS K 0222(1997)-5 | Wet absorption－Reduced vaporized atomic absorption spectroscopy
42 | 8210 | 8.21 | 83 | Mercury concentration | JIS K 0222(1997)-6 | Gold amalgam collection－heating reduced vaporized atomic absorption spectroscopy
|  |  | 84 | Formaldehyde concentration | JIS K 0303(2004)-6.1 | AHMT absorptiometry
43 | 8651.3 | 8.6513 | 85 | Formaldehyde concentration | JIS K 0303(2004)-6.2 | DNPH－GC
|  |  | 86 | Formaldehyde concentration | JIS K 0303(2004)-6.5 | DNPH－HPLC
44 | 9112.9 | 9.1129 | 87 | Formaldehyde concentration | JIS K 0303(2004)-Annex (normative) | Chromotropic acid absorptiometry
|  |  | 88 | Trichloroethylene and Tetrachloroethylene concentration | JIS K 0305(1997) | GC／FID
45 | 9595.6 | 9.5956 | 89 | Trichloroethylene and Tetrachloroethylene concentration | JIS K 0305(1997) | GC／ECD
46 | 10100 | 10.1
47 | 10627 | 10.627
48 | 11178 | 11.178
49 | 11753 | 11.753
50 | 12353 | 12.353
51 | 12979 | 12.979
52 | 13632 | 13.632
53 | 14313 | 14.313
54 | 15023 | 15.023
55 | 15763 | 15.763
56 | 16534 | 16.534
57 | 17337 | 17.337
58 | 18173 | 18.173
59 | 19043 | 19.043
60 | 19948 | 19.948
61 | 20889 | 20.889
62 | 21868 | 21.868
63 | 22886 | 22.886
64 | 23944 | 23.944
65 | 25043 | 25.043
66 | 26184 | 26.184
67 | 27370 | 27.37
68 | 28600 | 28.6
69 | 29877 | 29.877
70 | 31202 | 31.202
71 | 32577 | 32.577
72 | 34002 | 34.002
73 | 35479 | 35.479
74 | 37010 | 37.01
75 | 38597 | 38.597
76 | 40240 | 40.24
77 | 41942 | 41.942
78 | 43704 | 43.704
79 | 45528 | 45.528
80 | 47416 | 47.416
81 | 49368 | 49.368
82 | 51388 | 51.388
83 | 53477 | 53.477
84 | 55636 | 55.636
85 | 57868 | 57.868
86 | 60174 | 60.174
87 | 62557 | 62.557
88 | 65017 | 65.017
89 | 67559 | 67.559
90 | 70182 | 70.182
91 | 72890 | 72.89
92 | 75685 | 75.685
93 | 78568 | 78.568
94 | 81542 | 81.542
95 | 84609 | 84.609
96 | 87771 | 87.771
97 | 91031 | 91.031
98 | 94391 | 94.391
99 | 97853 | 97.853
100 | 101419 | 101.419
100.5 | 773.68 | 103.15
101 | 787.57 | 105
101.5 | 801.66 | 106.88