## The List
THE INSRTUMENTS LIST FOR THIRD-PARTY CALIBRATION
NO. | INSRTUMENT TAG. | INSRTUMENT NAME | DESIGN DECRIPTION | QUANTITY | VENDOR | MODEL | RANGE | Document | REMARK
1 | 39HTG20CT601 | RTD | Discharge basin seawater Temperature | 1 | Chongqing Chuanyi Automation Co., Ltd | WZP2-433F，Immersion length=6300mm | 0~250 ℃ | See the attachment
2 | 39HTG20CQ001 | pH Analyzer | Discharge basin seawater pH | 1 | Endress+Hauser | pH Sensor: Orbisint CPS11D Transimitter: Liquiline CM442 | 0~14 pH
3 | 39HTG20CQ002 | DO Analyzer | Discharge basin seawater DO | 1 | Endress+Hauser | DO Sensor: Oxymax COS51D Transimitter: Liquiline CM442 | 0~30 mg/L
4 | 39HTG20CQ003 | TSS Analyzer | Discharge basin seawater TSS | 1 | Wissenschaftlich-Technische Werkstätten GmbH | TSS Sensor: CarboVis 705 IQ TS Transimitter: System 2020 XT | 0-10 g/L
5 | 39HTG20CQ004 | COD Analyzer | Discharge basin seawater COD | 1 | Wissenschaftlich-Technische Werkstätten GmbH | COD Sensor: ViSolid 700 IQ Transimitter: System 2020 XT | 0-800 mg/L
6 | 39HTG20CQ005 | Total Nitrogen Analyzer | Discharge basin seawater Total Nitrogen | 1 | Shimadzu | TNP-4110 | 0-50 mg/L
7 | 39HTG20CQ006 | Residual Chlorine Analyzer | Discharge basin seawater Chlorine | 1 | HACH | CL17 | 0-5 mg/L