## list
NO. | dwg no. | KKS | Tech.designation | Inst.name | Model | Range | Detail | Document/ Data sheet | Note | Yêu cầu
1 | K0706-304 | A0UGU01CQ301 | #1 WASTE WATER STORAGE PH | PH meter | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 2～12 | x |  | Site | Kiểm định
2 | K0706-304 | A0UGU02CQ301 | #2 WASTE WATER STORAGE PH | PH meter | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 2～12 | x |  | Site | Kiểm định
3 | K0706-304 | A0UGU03CQ301 | #3 WASTE WATER STORAGE PH | PH meter | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 2～12 | x |  | Site | Kiểm định
4 | K0706-304 | A0UGU04CQ301 | #4 WASTE WATER STORAGE PH | PH meter | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 2～12 | x |  | Site | Kiểm định
5 | K0706-304 | A0UGU21CQ301 | TREATED WASTERWATER SS | Turbidimeter | 4690.5.2.1.1.1.0.3.1./STD | 0～25NTU | x |  | Site | Kiểm định
6 | K0706-304 | A0UGU21CQ302 | NEUTRALIZING POND PH | PH meter | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 2～12 | x |  | Site | Kiểm định
7 | K0706-304 | A0GMC32CQ301 | #1 PH ADJUSTING TANK PH | PH meter | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 2～12 | x |  | Site | Kiểm định
8 | K0706-304 | A0GMC42CQ301 | #2 PH ADJUSTING TANK PH | PH meter | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 2～12 | x |  | Site | Kiểm định
9 | K0706-304 | A0GRB13CQ301 | BIO-AERATION FILTER OUTLET SS | Turbidimeter | 4690.5.2.1.1.1.0.3.1./STD | 0～25NTU | x |  | Site | Kiểm định
10 | K0706-304 | A0GSD01CQ301 | A COALY WASTER WATER TREATED EQUIPMENT OUTLET WATER SS | Turbidimeter | 4690.5.2.1.1.1.0.3.1./STD | 0～25NTU | x |  | Site | Kiểm định
11 | K0706-304 | A0GSD11CQ301 | B COALY WASTER WATER TREATED EQUIPMENT OUTLET WATER SS | Turbidimeter | 4690.5.2.1.1.1.0.3.1./STD | 0～25NTU | x |  | Site | Kiểm định
12 | K0708-301 | A0HTG20CT001 | Discharge basin outlet seawater temperature | temperature | ROSEMOUNT 0065/0185 | 0~50℃ | x |  | Site | Hiệu chuẩn
13 | K0708-301 | A0HTG20CQ001 | Discharge basin outlet seawater PH | PH meter | CM442 | 1-14 | x |  | Site | Kiểm định
14 | K0708-301 | A0HTG20CQ002 | Discharge basin outlet seawater DO | Dissolved oxygen analyzer | Oxymax COS51D | 0-10% | x |  | Site | Kiểm định
15 | K0709-304 | A0QCL11CQ301 | Sodium chloriation station hydrogen ceoncent ration | purity of hydrogen analyzer | RB-KYII | 0－100%LEL |  | x | Site | Không thực hiện
16 | K0710-305 | A0QJH10CQ301 | NO.1 hydrogen of oxygen | purity of oxygen analyzer | NA-1000 | 0－100%LEL |  |  | Site | Không thực hiện
17 | K0710-305 | A0QJH10CQ302 | NO.1 oxygen of hydrogen | purity of hydrogen analyzer | NA-1000 | 0－100%LEL |  |  | Site | Không thực hiện
18 | K0710-305 | A0QJH10CQ303 | NO.1 hydrogen dew point | dew point analyzer | NA-1000 | 0－100%LEL |  |  | Site | Không thực hiện
19 | K0710-305 | A0QJH10CQ304 | NO.1 hydrogen pureness | pureness meter | NA-1000 | 0－100%LEL |  |  | Site | Không thực hiện
20 | K0710-305 | A0QJH10CQ401 | NO.1 hydrogen higher | hydrogen alarmer | NA-1000 | 0－100%LEL |  |  | Site | Không thực hiện
21 | K0710-305 | A0QJH20CQ301 | NO.2 hydrogen of oxygen | purity of oxygen analyzer | NA-1000 | 0－100%LEL |  |  | Site | Không thực hiện
22 | K0710-305 | A0QJH20CQ302 | NO.2 oxygen of hydrogen | purity of hydrogen analyzer | NA-1000 | 0－100%LEL |  |  | Site | Không thực hiện
23 | K0710-305 | A0QJH20CQ303 | NO.2 hydrogen dew point | dew point analyzer | NA-1000 | 0－100%LEL |  |  | Site | Không thực hiện
24 | K0710-305 | A0QJH20CQ304 | NO.2 hydrogen pureness | pureness meter | NA-1000 | 0－100%LEL |  |  | Site | Không thực hiện
25 | K0710-305 | A0QJH20CQ401 | NO.2 hydrogen higher | hydrogen alarmer | NA-1000 | 0－100%LEL |  |  | Site | Không thực hiện
26 | K0710-305 | A0QJH24CQ401 | NO.3 hydrogen higher | hydrogen alarmer | NA-1000 | 0－100%LEL |  |  | Site | Không thực hiện
27 | K0711 | A0HSJ01CQ301 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
28 | K0711 | A0HSJ01CQ302 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
29 | K0711 | A0HSJ01CQ303 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
30 | K0711 | A0HSJ01CQ304 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
31 | K0711 | A0HSJ01CQ305 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
32 | K0711 | A0HSJ01CQ306 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
33 | K0711 | A0HSJ01CQ307 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
34 | K0711 | A0HSJ01CQ308 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
35 | K0711 | A0HSJ01CQ309 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
36 | K0711 | A0HSJ01CQ310 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
37 | K0711 | A0HSJ01CQ311 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
38 | K0711 | A0HSJ01CQ312 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
39 | K0711 | A0HSJ01CQ313 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
40 | K0711 | A0HSJ01CQ314 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
41 | K0711 | A0HSJ01CQ315 | Gas detector alarm | Gas detector | ES2000T | 0~100ppm |  | x | Site | Hiệu chuẩn
42 | P0407 | 10HTA30CQ101 | STACK SO2 METER | SO2 | U23 | 0~4000mg/m3 |  | x | Site | Kiểm định
43 | P0407 | 10HTA30CQ102 | STACK SO2 METER | SO2 | U23 | 0~2000mg/m3 |  | x | Site | Kiểm định
44 | P0407 | 10HTA30CQ103 | STACK NOX METER | NOX | U23 | 0~2000mg/m3 |  | x | Site | Kiểm định
45 | P0407 | 10HTA30CQ104 | STACK H20 METER | H2O | ZR402G | 0~25% |  | x | Site | Kiểm định
46 | P0407 | 10HTA30CQ105 | STACK DUST METER | DUST | LM3188 | 0~220mg/m3 |  | x | VMI | GEDI not remove
47 | P0407 | 10HTA30CQ106 | STACK CO METER | CO | U23 | 0~2000mg/m3 |  | x | Site | Kiểm định
48 | P0407 | 10HTA30CT001A | STACK TEMPERATURE METER | TEMPERATURE | SITRANS T | 0~300ºC |  | Có | Site | Hiệu chuẩn
49 | P0407 | 10HTA30CF001 | STACK FLOWMETER | flowmeter | SITRANS P DSIII | 0-400PA |  | Có | Site | Hiệu chuẩn
50 | P0407 | 20HTA30CQ101 | STACK SO2 METER | SO2 | U23 | 0~4000mg/m3 |  | x | Site | Kiểm định
51 | P0407 | 20HTA30CQ102 | STACK SO2 METER | SO2 | U23 | 0~2000mg/m3 |  | x | Site | Kiểm định
52 | P0407 | 20HTA30CQ103 | STACK NOX METER | NOX | U23 | 0~2000mg/m3 |  | x | Site | Kiểm định
53 | P0407 | 20HTA30CQ104 | STACK H20 METER | H2O | ZR402G | 0~25% |  | x | Site | Kiểm định
54 | P0407 | 20HTA30CQ105 | STACK DUST METER | DUST | LM3188 | 0~220mg/m3 |  | x | VMI | GEDI not remove
55 | P0407 | 20HTA30CQ106 | STACK CO METER | CO | U23 | 0~2000mg/m3 |  | x | Site | Kiểm định
56 | P0407 | 20HTA30CT001A | STACK TEMPERATURE METER | TEMPERATURE | SITRANS T | 0~300ºC |  | Có | Site | Hiệu chuẩn
57 | P0407 | 20HTA30CF001 | STACK FLOWMETER | flowmeter | SITRANS P DSIII | 0-400PA |  | Có | Site | Hiệu chuẩn
58 | K0713-301 | A0EGA30CF301 | SUPPLIED OIL FLOW | MASS FLOW TRANSMITTER | MC27B11L1FF11MExAB0GM5 | 0～250m3/h | Có |  | Site | Hiệu chuẩn
59 | K0713-301 | A0EGD36CF301 | TO DIARY HFO TANK OIL FLOW | MASS FLOW TRANSMITTER | FCB350A1Y0100R0D2A1D3D1H2A | 0～130m3/h | Có |  | Site | Hiệu chuẩn
60 | K0713-301 | A0EGD48CF301 | AUXILIARY BOILER SUPPLY HFO FLOW | MASS FLOW TRANSMITTER | FCB350A1Y0025R0D4A1D3D1H2A | 0.5～5m3/h | Có |  | Site | Hiệu chuẩn
61 | K0713-301 | A0ENA13CF301 | LDO SUPPLIED TO LDO TANK OIL FLOW | MASS FLOW TRANSMITTER | FCB350A1Y0080R0D4A1D3D1H2A | 0～40m3/h | Có |  | Site | Hiệu chuẩn