## Sheet1
NO. | KKS NUMBER | TECH. DESIGNATION | INST. TYPE | INST. NAME | SENSOR. NAME | IP | CLASS | INST. MODAL | SIGNAL | CALIBRATION RANGE | CONNECTION | MEDIUM |  |  | QUA. | UNIT | MANUFACTURE
[12 empty] | MEDIUM | PRESS (MPa) | TEMP. (℃)
1 | A0UGU01CQ301 | #1 WASTE WATER STORAGE PH | QT | PH METER | PROBE | IP65 | ±0.2% | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 4~20MA | 2~12 | THREAD | WASTE WATER | 0 | 40 | 1 | SET | ABB
2 | A0UGU02CQ301 | #2 WASTE WATER STORAGE PH | QT | PH METER | PROBE | IP65 | ±0.2% | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 4~20MA | 2~12 | THREAD | WASTE WATER | 0 | 40 | 1 | SET | ABB
3 | A0UGU03CQ301 | #3 WASTE WATER STORAGE PH | QT | PH METER | PROBE | IP65 | ±0.2% | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 4~20MA | 2~12 | THREAD | WASTE WATER | 0 | 40 | 1 | SET | ABB
4 | A0UGU04CQ301 | #4 WASTE WATER STORAGE PH | QT | PH METER | PROBE | IP65 | ±0.2% | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 4~20MA | 2~12 | THREAD | WASTE WATER | 0 | 40 | 1 | SET | ABB
5 | A0UGU21CQ301 | TREATED WASTERWATER SS | QT | TURBIDIMETER | PROBE | IP65 | ±0.2NTU | 4690.5.2.1.1.1.0.3.1./STD | 4~20MA | 0~25 | THREAD | WATER | 0.05 | 40 | 1 | SET | ABB
6 | A0UGU21CQ302 | NEUTRALIZING POND PH | QT | PH METER | PROBE | IP65 | ±0.2% | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 4~20MA | 2~12 | THREAD | WATER | 0 | 40 | 1 | SET | ABB
7 | A0GMC32CQ301 | #1 PH ADJUSTING TANK PH | QT | PH METER | PROBE | IP65 | ±0.2% | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 4~20MA | 2~12 | THREAD | WASTE WATER | 0 | 40 | 1 | SET | ABB
8 | A0GMC42CQ301 | #2 PH ADJUSTING TANK PH | QT | PH METER | PROBE | IP65 | ±0.2% | AX4.6.0/.5.0.0.0.C AP30.3./2.1.0.2.0.00.1 WFJ-FCP3000-PVC | 4~20MA | 2~12 | THREAD | WASTE WATER | 0 | 40 | 1 | SET | ABB
9 | A0GRB13CQ301 | BIO-AERATION FILTER OUTLET SS | QT | TURBIDIMETER | PROBE | IP65 | ±0.2NTU | 4690.5.2.1.1.1.0.3.1./STD | 4~20MA | 0~25 | THREAD | WATER | 0.05 | 40 | 1 | SET | ABB
10 | A0GSD01CQ301 | A COALY WASTER WATER TREATED EQUIPMENT OUTLET WATER SS | QT | TURBIDIMETER | PROBE | IP65 | ±0.2NTU | 4690.5.2.1.1.1.0.3.1./STD | 4~20MA | 0~25 | THREAD | WATER | 0.05 | 40 | 1 | SET | ABB
11 | A0GSD11CQ301 | B COALY WASTER WATER TREATED EQUIPMENT OUTLET WATER SS | QT | TURBIDIMETER | PROBE | IP65 | ±0.2NTU | 4690.5.2.1.1.1.0.3.1./STD | 4~20MA | 0~25 | THREAD | WATER | 0.05 | 40 | 1 | SET | ABB